2025 Rimside Lateral Meeting Minutes – 3/12/2025

Attendees: George Thomas, David Ives, KC Odencrantz, Miren Lete-Odencrantz, Julie Rich, Chris Rich, Chester Call, Isaac Borup, Mike Purcell, Laurie Johnson, John Johnson Water Manager’s Report 2024 was a very difficult year. There were three problems: - Timmerman weir was blown out. - Kelly way had a leak as usual, but we were able to get ACHD to seal up the leaking manhole. There is still an underground leak that was deprioritized. - Arrington Weir/Mountain View Drive/Holley weir issues. This took time to diagnose. After much trouble shooting we found a root ball completely blocking the pipe just to the west of the Arrington weir. That was blown out and flow was great until we were notified of the blowout on the side on the rim. Apparently, the new higher water flow found another weak point further down the line. 80 feet of the old concrete pipe was repaired last fall and another 120 feet is planned to be completed before water turn on. We did benefit from ACHD installing a manhole on Mountain View so we can diagnose blockages much easier. Treasurer’s Report Our bank balance at the end of the year was $7,434.91. With the two large expenditures to the west of the Arrington weir the board voted to increase the levy to $400 per acre. We’ve held the levy steady for a few years and have depleted much of the reserve we built up plus have a major expense to finish the work. Election of 2024-2025 Officers Water Master – John Johnson Asst Water Master – Chris Rich Asst Water Master – Trey Thomas Chair – Laurie Johnson Vice Chair – Lloyd Barron Secretary/Treasurer – Miren Lete-Odencrantz Thanks to Chris and Trey for volunteering. Amendment to our By-Laws Two changes were made to our by-laws as approved by those in attendance. You can find the revisions on the website www.rimside.barronconsulting.org. - The amount in section 10 was increased to $15,000. - The words solely responsible were removed from section 12. Since the pipe flows though only some of the properties, but all the water users enjoy the use of the water it is reasonable and fair that the association maintains the main line. This will be at the discretion of the board per 12(e)iii. Members Open Discussion It was noted that there will be construction on Lady Bug Lane and our pipe runs under that so some risk of damage is present. This should be complete before water turn on. Before concluding the meeting, David Ives asked this to be added to the minutes: The members of the Rimside Lateral Water Users Association extend their sincere thanks to the Association’s officers and to the members who assisted the officers and Association during the water shut-off issues occurring in the 2024 water season. Said officers and members worked tirelessly to ensure that the Association’s members received as much of their allocated water ration as was humanly possible during a trying period of water delivery system problems and failures.

s